## Sub UG Exits Project Summary
TRAVERSE CITY LIGHT & POWER
SUBSTATION UNDERGROUND EXIT REPLACEMENT
PROJECT COST SUMMARY
MARCH 2018
CONTRACTOR:
|  |  | Contractor | Owner-Furnished | Total
| New Construction | Removal | Bid Price | Material | Project Cost
Barlow Substation | 0 | 0 | 0 | 60000 | 60000
Cass Substation | 7500 | 0 | 7500 | 53000 | 60500
Parsons Substation | 8500 | 0 | 8500 | 94000 | 102500
|  | Contractor Total Base Bid Price: | 16000

## Barlow UG Exit New Unit List
TRAVERSE CITY LIGHT & POWER
BARLOW SUBSTATION UNDERGROUND EXIT REPLACEMENT
NEW CONSTRUCTION UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45-3 | EA | 1 |  | 0
A5-3 | EA | 1 |  | 0
C7A | EA | 1 |  | 0
E1-3Fi | EA | 2 |  | 0
E1-3i | EA | 1 |  | 0
5.0' EXT. | EA | 2 |  | 0
TA-2H | EA | 2 |  | 0
Transfer #2 TX | EA | 2 |  | 0
K14 | EA | 2 |  | 0
M2-11 | EA | 1 |  | 0
M5-9 | EA | 1 |  | 0
Splice 1Ø #4 ACSR | EA | 1 |  | 0
Splice 3Ø #336.4 ACSR | EA | 1 |  | 0
Transfer 1Ø #4 ACSR | EA | 1 |  | 0
Transfer 3Ø #336.4 ACSR | EA | 1 |  | 0
Transfer M5-26 | EA | 3 |  | 0
UC5-1U | EA | 3 |  | 0
#336.4 18/1 ACSR, "Merlin" | LFT | 40 |  | 0
#4 7/1 ACSR, "Swanate" | LFT | 20 |  | 0
Trench, Backfill & Compact (1 to 2 Conduits) | LFT | 650 |  | 0
Directional Bore 2-6" HDPE SDR13.51 | LFT | 140 |  | 0
6" PVC SCH 40/80 | LFT | 915 |  | 0
6" 45° Fiberglass STD (30") Radius (SF18) | EA | 1 |  | 0
6" 90° Fiberglass STD (30") Radius (SF19) | EA | 10 |  | 0
6" 90° Fiberglass, 60" Radius (SF22) | EA | 8 |  | 0
14"x20"x15" Handhole & Cover | EA | 2 |  | 0
Sand Backfill, Class II (LM)1 | CU YD | 20 |  | 0
Trench Spoils, Haul & Dispose | CU YD | 20 |  | 0
Bus Jumper / Riser Stand Connections | EA | 4 |  | 0
600A Switchgear Removal/Reinstallation | EA | 1 |  | 0
15kV Terminator 750kCM | EA | 12 |  | 0
#750kCM CU, 15kV 133% EPR, 1/3 CN | LFT | 3510 |  | 0
Site Restoration1 | LS | 1 |  | 0
Traffic Control & Signage1 | LS | 1 |  | 0
Mobilization, Insurance & Bonding | LS | 1 |  | 0
|  |  | NEW CONSTRUCTION TOTAL: | 0
1All material required to be supplied by Contractor.

## Barlow UG Exit Rem Unit List
TRAVERSE CITY LIGHT & POWER
BARLOW SUBSTATION UNDERGROUND EXIT REPLACEMENT
REMOVAL UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45 | EA | 1 |  | 0
A5-3 | EA | 1 |  | 0
C7 | EA | 1 |  | 0
E | EA | 1 |  | 0
F | EA | 1 |  | 0
K14 | EA | 2 |  | 0
M5-5 | EA | 4 |  | 0
M5-9 | EA | 1 |  | 0
UC5-1 | EA | 3 |  | 0
Bus Jumper / Riser Stand Conduit | EA | 3 |  | 0
|  |  | REMOVAL TOTAL: | 0

## Cass UG Exit New Unit List
TRAVERSE CITY LIGHT & POWER
CASS SUBSTATION UNDERGROUND EXIT REPLACEMENT
NEW CONSTRUCTION UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45-3 | EA | 2 |  | 0
55-3 | EA | 1 |  | 0
C7A | EA | 2 |  | 0
C7A-H | EA | 1 |  | 0
C9-3N | EA | 1 |  | 0
HD-T-14 | EA | 1 |  | 0
E1-3Fi | EA | 6 |  | 0
5.0' EXT. | EA | 4 |  | 0
TA-2H | EA | 4 |  | 0
Transfer 1OWS | EA | 2 |  | 0
K10 | EA | 2 |  | 0
M2-11 | EA | 3 |  | 0
M5-2 | EA | 6 |  | 0
M5-4 | EA | 1 |  | 0
Splice 3Ø #336.4 ACSR | EA | 2 |  | 0
Transfer 3Ø #336.4 ACSR | EA | 3 |  | 0
Transfer 3Ø #336.4 Hendrix | EA | 2 |  | 0
Transfer M5-26 | EA | 9 |  | 0
Transfer Yard Light | EA | 1 |  | 0
UC5-1U | EA | 3 |  | 0
#336.4 18/1 ACSR, "Merlin" | LFT | 80 |  | 0
Trench, Backfill & Compact (1 to 2 Conduits) | LFT | 430 |  | 0
Directional Bore 1-6" HDPE SDR13.51 | LFT | 115 |  | 0
6" PVC SCH 40/80 | LFT | 430 |  | 0
6" 45° Fiberglass STD (30") Radius (SF18) | EA | 1 |  | 0
6" 90° Fiberglass STD (30") Radius (SF19) | EA | 6 |  | 0
6" 45° Fiberglass, 60" Radius (SF21) | EA | 1 |  | 0
6" 90° Fiberglass, 60" Radius (SF22) | EA | 3 |  | 0
Sand Backfill, Class II (LM)1 | CU YD | 10 |  | 0
Trench Spoils, Haul & Dispose | CU YD | 10 |  | 0
Riser Stand Conduit / Connections | EA | 4 |  | 0
15kV Terminator 750kCM | EA | 9 |  | 0
600A 15kV Deadbreak Elbow 750kCM | EA | 3 |  | 0
#750kCM CU, 15kV 133% EPR, 1/3 CN | LFT | 2985 |  | 0
Site Restoration1 | LS | 1 |  | 0
Ouages Allowance | LS | 1 | 7500 | 7500
Traffic Control & Signage1 | LS | 1 |  | 0
Mobilization, Insurance & Bonding | LS | 1 |  | 0
|  |  | NEW CONSTRUCTION TOTAL: | 7500
1All material required to be supplied by Contractor.

## Cass UG Exit Rem Unit List
TRAVERSE CITY LIGHT & POWER
CASS SUBSTATION UNDERGROUND EXIT REPLACEMENT
REMOVAL UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45 | EA | 2 |  | 0
55 | EA | 1 |  | 0
C1 | EA | 1 |  | 0
C7 | EA | 2 |  | 0
C7-H | EA | 1 |  | 0
HD-T-14 | EA | 1 |  | 0
E | EA | 5 |  | 0
F | EA | 3 |  | 0
K10 | EA | 2 |  | 0
M5-4 | EA | 1 |  | 0
M5-5 | EA | 6 |  | 0
UC5-1 | EA | 3 |  | 0
Riser Stand Conduit / Connections | EA | 3 |  | 0
|  |  | REMOVAL TOTAL: | 0

## Parsons UG Exit New Unit List
TRAVERSE CITY LIGHT & POWER
PARSONS SUBSTATION UNDERGROUND EXIT REPLACEMENT
NEW CONSTRUCTION UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45-3 | EA | 1 |  | 0
C7A-10 | EA | 1 |  | 0
C9-3N | EA | 1 |  | 0
E2-3Fi | EA | 1 |  | 0
M2-11 | EA | 1 |  | 0
M5-26 | EA | 3 |  | 0
Transfer 3Ø #336.4 ACSR | EA | 2 |  | 0
UC5-1U | EA | 1 |  | 0
Trench, Backfill & Compact (1 to 2 Conduits) | LFT | 450 |  | 0
Directional Bore 1-6" HDPE SDR13.51 | LFT | 150 |  | 0
6" PVC SCH 40/80 | LFT | 450 |  | 0
6" 45° Fiberglass STD (30") Radius (SF18) | EA | 1 |  | 0
6" 90° Fiberglass STD (30") Radius (SF19) | EA | 1 |  | 0
6" 90° Fiberglass, 60" Radius (SF22) | EA | 2 |  | 0
Sand Backfill, Class II (LM)1 | CU YD | 15 |  | 0
Trench Spoils, Haul & Dispose | CU YD | 15 |  | 0
PME-10 Switchgear Box Pad | EA | 1 |  | 0
Ground Rod, 3/4" x 10' | EA | 4 |  | 0
#2/0 CU Stranded Bare | LFT | 600 |  | 0
Exothermic Weld, Inc. Mold & Metal1 | EA | 6 |  | 0
600A Switchgear (PME-9/10/11) | EA | 1 |  | 0
Switchgear Grounding | EA | 1 |  | 0
15kV Terminator 750kCM | EA | 15 |  | 0
600A 15kV Deadbreak Elbow 500kCM | EA | 3 |  | 0
600A 15kV Deadbreak Elbow 750kCM | EA | 6 |  | 0
#750kCM CU, 15kV 133% EPR, 1/3 CN | LFT | 3195 |  | 0
Site Restoration1 | LS | 1 |  | 0
Ouages Allowance | LS | 1 | 8500 | 8500
Traffic Control & Signage1 | LS | 1 |  | 0
Mobilization, Insurance & Bonding | LS | 1 |  | 0
|  |  | NEW CONSTRUCTION TOTAL: | 8500
1All material required to be supplied by Contractor.

## Parsons UG Exit Rem Unit List
TRAVERSE CITY LIGHT & POWER
PARSONS SUBSTATION UNDERGROUND EXIT REPLACEMENT
REMOVAL UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
45 | EA | 1 |  | 0
C7-1 | EA | 1 |  | 0
C9-N | EA | 1 |  | 0
E2-3Fi | EA | 1 |  | 0
M5-26 | EA | 3 |  | 0
UC5-1 | EA | 1 |  | 0
600A Switchgear (PMH-9/10/11) | EA | 1 |  | 0
PMH-10 Switchgear Box Pad | EA | 1 |  | 0
|  |  | REMOVAL TOTAL: | 0