## Barlow to Parsons - Contractor
TRAVERSE CITY LIGHT & POWER
BARLOW TO PARSONS
CONTRACTOR MATERIAL
ITEM |  | ITEM | MANUFACTURER | UTILITY | UNIT | EXTENDED
NO. | QUANTITY | DESCRIPTION | NAME | CATALOG # | PRICE | PRICE | NOTES
H-TIE-1100 | 17 | Spool tie, #4/0 | Preformed | EZSP 4378 | 0 | 0
C-SBS-752 | 40 | Connector, Compression, WR885, #4/0-477 to #4/0-477 | ABB | WR885 | 0 | 0
C-SBS-724 | 25 | Connector, Compression, WR379, #3/0-4/0 to #6-2 | ABB | WR379 | 0 | 0
C-SBS-708 | 2 | Connector, Compression, WR159, #6-2 to #6-2 | ABB | WR159 | 0 | 0
H-WAS-1300 | 351 | Washer, Square, 2 1/4", 11/16" hole | MPS | J1075 | 0 | 0
H-WAS-1280 | 70 | Washer, Square curved, 3", 11/16" hole | Hubbell | 6823.5 | 0 | 0
H-NUT-805 | 10 | Eyenut, 5/8" | Hubbell | 6502 | 0 | 0
H-ANC-135 | 60 | Anchor, Shackle | Hubbell | AS25WBNK | 0 | 0
H-CLV-620 | 17 | Clevis, Spool | Hubbell | 337 | 0 | 0
C-END-472 | 4 | Dead-end, Strain clamp, #6-2/0 ACSR | Hubbell | GD961A | 0 | 0
| 40 | Dead-end, Strain clamp, #3/0-556 ACSR | Hubbell | GD965A | 0 | 0
| 6 | Lug, Two hole, #477 26/7 ACSR | Hubbell | VAUL60012BN | 0 | 0
H-GUY-710 | 49 | Guy, Eyeplate, 21K | MPS | UGA664 | 0 | 0
H-BOL-445 | 82 | Bolt, Machine, 1/2" x 8" |  | DF2B8 | 0 | 0
H-BOL-444 | 12 | Bolt, Machine, 1/2" x 6" | Hubbell | 8706 | 0 | 0
H-BOL-463 | 33 | Bolt, Machine, 5/8" x 8" | Hubbell | 8808 | 0 | 0
H-BOL-456 | 12 | Bolt, Machine, 5/8" x 14" | Hubbell | 8814 | 0 | 0
H-BOL-457 | 14 | Bolt, Machine, 5/8" x 16" | Hubbell | 8816 | 0 | 0
H-BOL-458 | 30 | Bolt, Machine, 5/8" x 18" | Hubbell | 8818 | 0 | 0
H-BOL-459 | 25 | Bolt, Machine, 5/8" x 20" | Hubbell | 8820 | 0 | 0
H-BOL-460 | 8 | Bolt, Machine, 5/8" x 22" | Hubbell | 8822 | 0 | 0
H-BOL-461 | 12 | Bolt, Machine, 5/8" x 24" | Hubbell | 8824 | 0 | 0
H-BOL-408 | 1 | Bolt, DA, 5/8" x 24" | Hubbell | 8874 | 0 | 0
H-BOL-409 | 24 | Bolt, DA, 5/8" x 26" | Hubbell | 8876 | 0 | 0
H-PIN-920 | 6 | Pin, Pole top, 1" | Hubbell | 2199P | 0 | 0
H-PIN-930 | 118 | Pin, Saddle, 1" | MPS | J3322Z | 0 | 0
I-INS-430 | 17 | Insulator, Spool | Hendrix | HPI-53-2 | 0 | 0
I-INS-420 | 41 | Insulator, Porcelain, Down guy | Hubbell | ICB 54-2 | 0 | 0
I-INS-310 | 33 | Insulator, 15 kV, Dead-end, Polymer | Hubbell | 401015 0215 | 0 | 0
I-INS-320 | 124 | Insulator, 15 kV, Pole top | Hendrix | HPI-15VTP | 0 | 0
H-ARM-210 | 6 | Brace, Crossarm, Small | Aluma Form | AF 626 | 0 | 0
H-ANC-150 | 21 | Anchor, Square Shaft, Triple eye | Hubbell | C102-0025 | 0 | 0
H-ANC-145 | 21 | Anchor, Square Shaft, Double Helix | Hubbell | 012642AE | 0 | 0
H-ANC-155 | 42 | Anchor, Square Shaft, 5' extension | Hubbell | 12656 | 0 | 0
G-ROD-525 | 4 | Ground Rod, 3/4" x 10' |  | 3410 | 0 | 0
H-GUY-750 | 35 | Marker, Guy | Electrical Materials Com. | 70 7Y | 0 | 0
H-ARM-205 | 34 | Brace, Crossarm, Large | Aluma Form | RA6018 | 0 | 0
| 18 | Suspension OPGW .547"-.562" | AFL | HOS547/562 | 0 | 0
G-CLP-315 | 86 | Clamp, Grounding, 0.162-0.419, Bronze | Hubbell | GC14101 | 0 | 0
H-BOL-450 | 62 | Bolt, Machine, 3/4" x 18" | Hubbell | 8918 | 0 | 0
G-ROD-500 | 4 | Clamp, Ground rod, 3/4" | MPS | J8493 | 0 | 0
H-WAS-1250 | 62 | Washer, Spring clip, 3/4" |  | B636-8 | 0 | 0
I-INS-350 | 41 | Insulator, Fiberglass, Clevis roller, 21K, 78" | MPS | GCC21-78R | 0 | 0
H-CLV-625 | 6 | Clevis, Thimble, 30K | MPS | CT-88 | 0 | 0
H-BKT-363 | 14 | Bracket, Static wire, 5/8" x 16" | Hughes Bros | 2859.1-16 | 0 | 0
H-BOL-468 | 49 | Bolt, Machine, 7/8" x 20" | Hubbell | C2050257 | 0 | 0
H-BOL-469 | 49 | Bolt, Machine, 7/8" x 24" | Hubbell | DF5B24 | 0 | 0
H-NUT-810 | 98 | Nut, Lock, 7/8" | Hubbell | 3514 | 0 | 0
H-WAS-1270 | 98 | Washer, Spring clip, 7/8" | Hubbell | C205-0436 | 0 | 0
H-WAS-1230 | 94 | Washer, Round, 1-3/8" diameter, 5/8" hole |  | PS6803 | 0 | 0
H-WAS-1290 | 98 | Washer, Square curved, 4", 15/16" hole | Hubbell | 680912 | 0 | 0
| 80 | Locknut 1/2" MF Type | Hubbell | 3511 | 0 | 0
| 62 | Locknut 3/4" MF Type | Hubbell | 3513 | 0 | 0
| 296 | Locknut 5/8" MF Type | Hubbell | 3512 | 0 | 0
W-GUY-140 | 3280 | Wire, Guy, 7/16" | National Strand | 716CEHS7-C | 0 | 0
G-CLP-305 | 14 | Clamp, Ground, 5/8" | Hubbell | J1163 | 0 | 0
H-WAS-1220 | 26 | Washer, Curved, 4", 13/16" hole | Hubbell | GCW41 | 0 | 0
H-CLV-610 | 4 | Clevis, Eye, 30K | Hubbell | CA05033 | 0 | 0
H-CLP-580 | 6 | Socket eye, 30K | Hubbell | SA-16 | 0 | 0
| 4 | Y-Clevis-Ball 30K | HPS | YBC30 | 0 | 0
| 12 | Socket Y-Clevis 30K | HPS | SYC30 | 0 | 0
| 2 | Yoke Plate, 18" | AFL | SUMEYP | 0 | 0
| 2 | Y-Clevis-Clevis | AFL | YCC | 0 | 0
C-SBS-744 | 4 | Connector, Compression, WR815, #4/0-477 to #6-2/0 | ABB | WR815 | 0 | 0
H-GUY-725 | 82 | Guy, Grip, 7/16", 20M | Preformed | GDE-2108 | 0 | 0
| 31 | Bonding Clip, 3/4" | Hughes Bros | 2727.7 | 0 | 0
| 4 | Mach Bolt, 1/2" x 3-1/2" | Hughes Bros | B53-1/2 | 0 | 0
| 4 | Lockwasher 1/2" Galv | MPS | J138 | 0 | 0
| 6 | Lag Screw 1/2" x 4-1/2" | MPS | J8754-1/2 | 0 | 0
| 5 | Washer, Round, 1-3/8" diameter, 9/16" hole | MPS | J1086 | 0 | 0
| 4 | Clamp, Suspension, Socket-Clevis, 1.38"-1.82" | Hubbell | CFSHT182S | 0 | 0
| 18 | Bolt, 3/8"-16 x 1" | Fastenal | 1110105 | 0 | 0
| 27 | OPGW Wood Pole Clamps | AFL | OGW469/561 | 0 | 0
| 6 | Y-Clevis Ball Link | AFL | YCBHL | 0 | 0
| 6 | S.S. Bolt 1/2"-13 x 1" | Fastenal | 70205 | 0 | 0
| 4 | 1/2" Dia. Ground Strap | Graybar | 88173422 | 0 | 0
| 16 | 1/4"-10 x 2" Lag Screw | Fastenal | 11127019 | 0 | 0
| 4 | Pole Letter "N" | Almetek | TR29-N | 0 | 0
| 14 | Nut, Square, 5/8" | Hubbell | 55084P | 0 | 0
T-SWI-660 | 1 | Switch, Overhead, HOG, 900A | Siemens | 983XF-AHS | 0 | 0
H-ARM-230 | 6 | Crossarm, Wood, 8' | Brooks | 8FT4PINT03 | 0 | 0
H-ARM-225 | 34 | Crossarm, Wood, 10' | Brooks | 10FT6PINT05 | 0 | 0
H-ARM-220 | 4 | Crossarm, Fiberglass, 8' | Pupi | DA2500096E2B7X2 | 0 | 0
H-ARM-215 | 4 | Crossarm, Fiberglass, 10' | Pupi | DA3000-120E4B9X2 | 0 | 0
| 2904 | Wire, Bare, #4, CU, 7 Strand, Soft drawn |  |  | 0 | 0
| 11 | Extension Link | Hubbell | L14 | 0 | 0
| 1430 | Staples, Galvanized, 1-1/2" .9 GA | Sockade | SS4i40 | 0 | 0
| 24 | Single Hole Connector, #4 CU | Homac | SA6-45 | 0 | 0
| 6 | Tee Tap, Compression Hi-Temp, 27.2" Length | AFL | 5330.3HT | 0 | 0
| 6 | Arrestor, Polymer PVI-LP, 4-hole NEMA, Eye Bolt | HPS | 30657-3002 | 0 | 0
| 6 | Compression 4 Hole NEMA Pad Straight, Arrestor Connector, 18.5" Length | AFL | 5630.122HT | 0 | 0
| 12 | Terminator, 69kV | G&W | P9286-300G244P254/83A | 0 | 0
| 6 | Aluminum Bus Bar, 5"x1/2", 3' Length | AFL | R5i500WZT61 | 0 | 0
| 90 | Bolt, Mounting Equip, 1/2" x 3" | HPS | PSHB120300 | 0 | 0
| 96 | Cable Cleat Supports | CMP Products | 2BC070083A | 0 | 0
| 96 | Bolt, 7/16" x 6", Cleat Mounts, Stainless Steel |  |  | 0 | 0
| 96 | Nut, 7/16", Cleat Mounts, Stainless Steel |  |  | 0 | 0
| 2 | Link Box | TE Connectivity | HVLB-SICO-GND-3E-SEP-S1-MO1 | 0 | 0
| 120 | #4 Covered Copper Wire (ft), 7 Strand, Soft Drawn, 600V |  |  | 0 | 0
| 28 | Clamp, Ground | Hubbell | GC14101 | 0 | 0
| 1 | Banding for Ground Wire | Aluma Form | 3/4-201-SSB-100 | 0 | 0
| 1 | Banding Buckles, 24 count | BAB | 38 | 0 | 0
| 9 | 1/2" Bolt Package for 4-Hole NEMA Pad Connection, 2.75" Length | HPS | TMH337SS (10112889) | 0 | 0
[5 empty] | TOTAL: | 0
Notes:
Pupi and Shakespeare are only accepted fiberglass crossarm manufacturers