## Barlow Switch Station
TRAVERSE CITY LIGHT & POWER
BARLOW 69KV SWITCH STATION
SCHEDULE OF VALUES
Group | Construction Unit Description | Unit Quantity | Labor | Material | Labor and Material | Extended Total
A1 | 69kV Pull-off Structure | 2 |  | ----- | 0 | 0
A2 | 69kV Low Bus Switch Structure | 2 |  | ----- | 0 | 0
A3 | 69kV Low Bus Support Structure | 4 |  | ----- | 0 | 0
A4 | 69kV 3Ø Bus PT Support Structure | 2 |  | ----- | 0 | 0
A5 | 69kV High Bus Switch Structure | 2 |  | ----- | 0 | 0
A6 | Static Mast Structure | 1 |  | ----- | 0 | 0
A7 | 15kV Riser Structure | 1 |  | ----- | 0 | 0
A8 | Steel Structure Removals | LS |  |  | 0 | 0
B1 | 69kV Group Operated Disconnect Switch, 1200A | 8 |  |  | 0 | 0
B2 | 15kV Motor Operator for 3Ø Switch | 3 |  | ----- | 0 | 0
C1 | 69kV Lightning Arrester | 6 |  |  | 0 | 0
E1 | 69kV SF6 Power Circuit Breaker | 2 |  | ----- | 0 | 0
F1 | 69kV Circuit Switcher | 2 |  | ----- | 0 | 0
G1 | 125VDC Station Battery System | LS |  | ----- | 0 | 0
G2 | 69kV Potential Transformers | 8 |  | ----- | 0 | 0
H1 | 15kV - 25kVA Station Service Transformer | 2 |  | ----- | 0 | 0
J1 | Cable Trench & Control Building Riser | LS |  |  | 0 | 0
J2 | Below Grade Control Conduit | LS |  |  | 0 | 0
J3 | Above Grade Control Conduit | LS |  |  | 0 | 0
J4 | Distribution Circuit & Communication Conduit | LS |  |  | 0 | 0
J5 | Control Cable | LS |  |  | 0 | 0
J6 | 69kV PT Fuse Junction Box | 4 |  |  | 0 | 0
J7 | 15kV PT Fuse Junction Box - Replace Internals | 2 |  |  | 0 | 0
K1 | Control Building Foundation (F10) | 10 |  |  | 0 | 0
K2 | 69kV High Disconnect Switch Foundation (F11) | 2 |  |  | 0 | 0
K3 | 69kV Low Disconnect Switch Foundation (F12) | 2 |  |  | 0 | 0
K4 | 69kV Low Bus Support Foundation (F13) | 4 |  |  | 0 | 0
K5 | 69kV 3Ø PT Foundation (F14) | 2 |  |  | 0 | 0
K6 | 69kV Circuit Switcher Foundation (F15) | 4 |  |  | 0 | 0
K7 | 15kV Riser Foundation (F16) | 1 |  |  | 0 | 0
K8 | 69kV Pull off Foundation (F17) | 4 |  |  | 0 | 0
K9 | Static Mast Foundation (F18) | 1 |  |  | 0 | 0
K10 | 69kV Breaker Foundation (F19) | 3 |  |  | 0 | 0
K11 | 15kV Recloser Foundation (F20) | 1 |  |  | 0 | 0
K12 | Foundation Removals | LS |  |  | 0 | 0
L1 | Rough Site Work | LS |  |  | 0 | 0
L2 | Finish Site Work | LS |  |  | 0 | 0
L3 | Stone Paving (Yard and Drive) | LS |  |  | 0 | 0
L4 | Site Work Removals | LS |  |  | 0 | 0
M1 | Substation Fence Modification | LS |  |  | 0 | 0
N1 | Station Ground Grid | LS |  |  | 0 | 0
O1 | Substation Yard Lighting | LS |  | ----- | 0 | 0
P1 | 15kV Riser Pole & 15kV Cable Installation | LS |  | ----- | 0 | 0
Q1 | 15kV Recloser | 1 |  | ----- | 0 | 0
S1 | 69kV Bus | LS |  |  | 0 | 0
S2 | 69kV Line Drop into Take Off Structure | LS |  |  | 0 | 0
S3 | 69kV Wire Drops Between Equipment | LS |  |  | 0 | 0
S4 | 15kV Wire Drops Between Equipment | LS |  |  | 0 | 0
S5 | Static Wires | LS |  |  | 0 | 0
S6 | 69kV & 15kV Material Removal | LS |  |  | 0 | 0
T1 | Transmission Switching | LS |  | ----- | 0 | 0
T2 | Mobilization | LS |  | ----- | 0 | 0
T3 | Insurance and Bonding | LS |  | ----- | 0 | 0
[5 empty] | CONTRACTOR TOTAL BASE BID PRICE: | 0
[5 empty] | OWNER-FURNISHED MATERIAL: | 633427
[5 empty] | TOTAL PROJECT COST: | 633427