## Aero Park UG New Unit List
TRAVERSE CITY LIGHT & POWER
AERO PARK UNDERGROUND
NEW CONSTRUCTION UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
C5-3 | EA | 3 |  | 0
C7A-10 | EA | 1 |  | 0
E2-3Fi | EA | 1 |  | 0
M5-26 | EA | 6 |  | 0
M5-5 | EA | 1 |  | 0
UC5-1U | EA | 1 |  | 0
#336.4 18/1 ACSR, "Merlin" | LFT | 948 |  | 0
3Ø 15kV Sectionalizing Cabinet Box Pad2 | EA | 6 |  | 0
3Ø Sectionalizing Cabinet (200A/600A) | EA | 7 |  | 0
600A Switchgear (PSE-9/10/11) | EA | 11 |  | 0
200A 3, 4 or 5-Point Junction | EA | 21 |  | 0
200A Feed-Through Parking Stand | EA | 24 |  | 0
200A Insulating Cap | EA | 55 |  | 0
200A Elbow Surge Arresters | EA | 2 |  | 0
200A 15kV Loadbreak Elbow #2 | EA | 22 |  | 0
200A 15kV Loadbreak Elbow #1/0 | EA | 15 |  | 0
200A 15kV Loadbreak Elbow #4/0 | EA | 108 |  | 0
600A 15kV Deadbreak Elbow 750kCM | EA | 84 |  | 0
15kV Terminator #4/0 | EA | 30 |  | 0
#2 15kV Splice | EA | 1 |  | 0
15kV Sectionalizing Cabinet Grounding | EA | 7 |  | 0
Switchgear Grounding | EA | 11 |  | 0
Integral Fault Sensor w/ LED Light | EA | 87 |  | 0
#2 AL 15kV EPR Full C.N. | LFT | 410 |  | 0
#4/0 AL, 15kV 133% EPR, 1/3 CN | LFT | 12960 |  | 0
#750kCM CU, 15kV 133% EPR, 1/3 CN | LFT | 18180 |  | 0
Site Restoration1 | LS | 1 |  | 0
Outages Allowance | LS | 1 | 65000 | 65000
Traffic Control & Signage1 | LS | 1 |  | 0
Mobilization, Insurance & Bonding | LS | 1 |  | 0
|  |  | NEW CONSTRUCTION TOTAL: | 65000
1All material required to be supplied by Contractor.
2Pea stone to be supplied by Contractor.
BID ALTERNATE #1 - CIRCUIT PC20 INSTALLATION
|  |  | UNIT LABOR & | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | MATERIAL | TOTAL
600A Switchgear (PSE-9/10/11) | EA | 1 |  | 0
600A 15kV Deadbreak Elbow 750kCM | EA | 9 |  | 0
15kV Terminator 750kCM | EA | 3 |  | 0
Integral Fault Sensor w/ LED Light | EA | 9 |  | 0
#750kCM CU, 15kV 133% EPR, 1/3 CN | LFT | 3165 |  | 0
Substation Recloser Foundation & Conduits | LS | 1 |  | 0
Substation Recloser Installation | LS | 1 |  | 0
Substation Recloser Grounding & Wiring | LS | 1 |  | 0
Subsation Riser Stand & Connections | LS | 1 |  | 0
|  |  | BID ALTERNATE #1 BID PRICE: | 0
|  |  | NEW CONSTRUCTION: | 65000
|  |  | REMOVAL: | 0
|  |  | BID ALTERNATE #1 BID PRICE: | 0
|  |  | CONTRACTOR TOTAL BASE BID PRICE: | 65000
|  |  | OWNER-FURNISHED MATERIAL: | 560000
|  |  | TOTAL PROJECT COST: | 625000

## Aero Park UG Rem Unit List
TRAVERSE CITY LIGHT & POWER
AERO PARK UNDERGROUND
REMOVAL UNIT LIST
|  |  | UNIT | EXTENDED
UNIT ITEM DESCRIPTION | UNIT | QUANTITY | LABOR | TOTAL
C5-3 | EA | 2 |  | 0
C7 | EA | 1 |  | 0
C7A-10 | EA | 1 |  | 0
E2-3Fi | EA | 1 |  | 0
M3-15 | EA | 2 |  | 0
M5-9 | EA | 3 |  | 0
UC2 | EA | 1 |  | 0
#1/0 6/1 ACSR, "Raven" | LFT | 948 |  | 0
Padmount Switchgear (All Types) | EA | 5 |  | 0
Padmount Sectionalizing Cabinets (All Types) | EA | 16 |  | 0
Elbows, Terminations, Junctions, Caps | LS | 1 |  | 0
|  |  | REMOVAL TOTAL: | 0